# Leaking Pool

A simple test which can be completed by you the customer at no cost.

- Fill pool to top of skimmer and mark on the face plate where the water comes up to.

- Run the filter pump for 24 hours and mark the loss.

- Leave the filter pump off for 24 hours and mark the loss; this will give you the water loss. (Remember not to backwash; also monitor any rainfall, which may alter the water level).

- If the Water loss is the same on both tests it is likely to be the pool shell, fittings, liner or hydrostatic sump value.

- If the loss is greater with the filter pump running, it is most likely to be the backwash waste line, a leak in the plant room or heating equipment or in the flow and return pipelines. You can do a visual inspection of this equipment.

Once this preliminary check has been completed contact us we have over 30 years experience in detecting and rectifying this type of problem.

Equipment and Costs-

Pressure test of pipeline:				£35.00 per man hour + VAT

(Providing the pipelines will 				(Minimum of £60.00)

accept our plugs, a main water

supply is required on site).

Dye Test of fittings except sump:			£35.00 per man hour + VAT

(Minimum of £60.00)

Ultra Sonic Liner Detector:				£55.00 per man hour + VAT

for finding leaks in vinyl liners 			(Minimum £100.00)

Travelling time:					 £35.00 per man hour + VAT

(No mileage charge)

Underwater work:					£55.00 per man hour + VAT (involving scuba diving equipment)

Once we have established the leak, a full report will be issued with a quotation.

If you need any further assistance please do not hesitate to contact us, we will be more than happy to help with any problems or queries you have.

Call our technical Helpline on

0844 247 0047 for more advise